This package provides materials to guide onsite trainings for the introduction of POC EID testing. The topics focus on what health workers at each facility need to learn in order to confidently begin POC EID high quality testing; the package provides materials for both classroom and hands-on learning opportunities. This document outlines the standardized training content trainers can use to conduct uniform POC EID training across all health facilities.

Each trainer can use their own style to capture his or her audience. These materials should serve as a guide and can be modified to fit the national or local circumstance of the training participants and setting.  Trainers should review the materials before the start of the training event and make any changes necessary to the generic slides.

As these materials focus on practical skills and implementation within the facility setting, it is recommended that trainers allocate more time to the hands-on training activities rather than giving lectures. At the end of the two-day training, the trainer and facility staff/administrators should agree on the date of a follow-up visit. This follow-up visit must be scheduled during a clinic day when mothers/caregivers are scheduled to visit to ensure infants are available for testing.

Process:

- Respect the norms for the facility and be courteous whenever working on-site

- Let the health facility in charge and/or MoH representative open the training and provide words of encouragement.

- State briefly the general objectives and purpose of the training, including the certification process.

- Assume that participants know each other since they work in the same facility but allow them to introduce themselves in a creative manner to break barriers (if any).

- Introduce yourself to the participants and set ground rules (if applicable).

- Provide breaks in between sessions (when necessary).

- Where applicable, split the training session into two parts (General Information; Technical/lab, and Clinical systems). Invite all key players in the facility to the first section of the training to sensitize staff at all levels. The second part of the training should include both operators and clinicians who will be involved in POC EID. See deployment checklist for additional guidance.

- Conduct training modules (M01, M02, M03, M04, and SC02) and allow questions between modules for clarification, however, keep track of the time. See deployment checklist for additional guidance.

- M04 modules should include device-specific information that will be provided by the manufacturer. These modules include practical exercises as per manufacturer’s instructions and may be delivered by a representative from the manufacturer, if one is able to attend the training, or by a master trainer.

- Only include SC01 (sample collection) if the supplier provided training does not cover sample collection.

- Provide demonstrations and ample time for trainees to practice in preparation for the practical assessment and a short written assessment. Trainers can use the same quiz questions provided by the supplier trainer during the training of trainers (TOT) session.

- Provide emphasis on proper documentation, including how to use the register/logbook, error tracking log, QA/Performance tracking log and maintenance log.

- At the end of the training discuss roles, responsibilities and next steps, which should include:

  - When routine testing will begin;

  - Timing of the follow-up visit for operators’ final assessment in order to be certified;

  - Provide summary of the training discussions, particularly on the clinical system (adjustment to clinic flow, patient prioritization, etc.), to emphasize what has been discussed and agreed;

  - Identify when to contact service support and who will provide the support. Trainers should provide contact information of MoH, the implanting partner supporting the program and the manufacturer’s in country distributor.

  - Identify who will be the focal person for coordination at the facility.

- Finally, request that the trainees complete the evaluation form, as their feedback will help improve subsequent and future trainings.

POC EID Training Materials Toolkit Contents

Preparatory Materials for Training:

  - A00: POC EID Operators’ Training Agenda

  - Deployment checklist

Lecture Modules:

  - M01: Introduction to EID and POC EID

  - M02: Lab System: Quality Assurance, Safety and Waste Management, Connectivity and Data Management, Supply Chain Management, Supervision and/or Mentorship

  - M03: Clinical system: Clinic flow

  - M04: POC EID Product presentation and instructions for use from product/platform manufacturer (including sample collection, testing, troubleshooting and error codes)

  - SC01: Sample Collection and Handling (if not covered in manufacturer’s training package)

  - SC02: Data Management: Use of Logbooks

  - SC03: QA, Mentorship and Operator Certification for POC EID Testing

Implementation Tools:

  - Error-and-Specimen-Rejection-Log

  - Facility-Consumption-and-Requisition-Form

  - POC EID Mentorship Supervision Checklist

  - Safety Preventive Maintenance Checklist

CPOC EID Training Package Overview: Guide for Trainers

1. Before Device Deployment and Onsite Training (at least 2 weeks ahead of onsite training)

- Communicate with facility management (District Health/Medical Officer, Facility in-charge/Facility coordinator) and present the purpose of the training; confirm their availability and that of the staff involved.

- If the device is already at the site and in use for TB testing (GeneXpert), communicate with the lab manager to find out the device status (condition, functionality, software version, availability of test cartridges, etc.). If needed, reach out to the manufacturer to ensure that the device is working. If the device is not already at the facility, check if the new device is already in country and ready to be installed.

- Get a letter from the designated MOH officer (Director of Lab Services Department or Regional Delegate) to represent official communication.

- Prepare the activity materials in advance and meet the training and mentorship team.

- Contact the facility a few days before the training to re-confirm it is ready and staff will be available.

2. One Day Prior to Device Deployment and Onsite Training

- Check the functionality of the POC device and accessory machines to ensure they are in good condition.

- Prepare the materials and tools needed for deployment and training:

  - mPima or GeneXpert device and accessories (bring extra from supplier to facilitate training) Note: need Thermomixer C and Smart Block for GeneXpert EID DBS samples

  - mPima  connectivity pack (with SIM card)

  - POC EID sample collection kits

  - POC device specific cartridges

  - Rolls of mPima thermal paper (at least 2 rolls, if applicable)

  - POC log or register (if no register is already at the site)

  - Delivery note (chain of custody documentation for commodities)

  - Job aids and SOPs, QA log, maintenance log, and error tracking log (if not available at the site)

  - End- user’s training kit/materials (note pad, pen, copy of training modules and forms to use for exercises)

  - Additional POC training set-up materials (lab coat, sharps bin, biohazard bin, gloves, disinfectant, blue pads, tourniquet, EDTA tube, evacuated needle, adapter, etc.); the set-up materials will depend on the product and methods used for sample collection and type of sample applicable for the device

  - Assessment checklist to use for practical assessment (varies by platform)

  - Copies of training agenda

- Confirm all logistics (materials, transportation, allowances, etc.)

3. During Deployment and Onsite Training

- Bring all necessary materials to the facility

- Pay a courtesy call to DHO/DMO and facility in-charge

- Set up the training room/hall in the facility where instructed

- Split the training session into two parts (General Information (M01) and Technical/lab, Clinical system (M02/M03)). Invite all key players in the facility to the first section of the training to sensitize staff at all levels. The second part of the training should include both operators and clinicians.

- Allocate time for facility in-charge or DMO to provide a message of welcome and commitment to emphasize their support for POC testing and encourage ownership of the POC EID testing program

- Collect facility staff contact information

- Start the technical, lab, and clinical system trainings

- Ensure that all knowledge and practical sessions are completely covered

  - M01: Introduction to EID and POC EID

  - M02: Lab System: Quality Assurance, Safety and Waste Management, Connectivity and Data Management, Supply Chain Management, Supervision and/or Mentorship

  - M03: Clinical system: Clinic flow

  - M04: POC EID Product Pesentation and Use from Supplier (including sample collection, testing, troubleshooting and error codes, etc.)

  - S01: Sample Collection and Handling (if not covered by the manufacturer’s training package)

  - SC02: Data Management: Use of Logbooks

  - Demonstration and Practical Assessment

  - Plan for Next Steps - Certification process, placement of the device at the facility,  patients flow (prioritization, criteria to use, etc.), laboratory workflow, QA/mentorship schedule

- Prepare the handover of the device, accessories, and materials to the facility in-charge and ensure that he/she signs the delivery note for accountability and documentation purposes.

## POC EID Training Agenda Example – Operator Training

|  | Time | Session | Presenter |
| --- | --- | --- | --- |
| Day 1 | 8:00 -9:00 | Registration | MoH/Implementing Partner |
|  | 9:00 – 9:30 | Welcome: Agenda overview, presenter introductions, training logistics | MoH/Implementing Partner |
|  | 9:30 -10:30 | M01: Introduction to EID and POC Testing | MoH/Implementing Partner |
|  | 10:30 -10:45 | Tea Break |  |
|  | 10:45 – 12:15 | M02: Laboratory Systems | MoH/Implementing Partner |
|  | 12:15 – 1:15 | Lunch |  |
|  | 13:15 – 14:30 | M03: Clinical Systems | MoH/Implementing Partner |
|  | 14:30 – 17:00 | M04: Operating the POC Device* | Manufacturer training specialist |
| Day 2 | 8:30 -8:45 | Review of day 1 | Implementing Partner |
|  | 8:45 – 10:30 | M04: Handiwork Training* by Manufacturer or SC01 POC EID Sample Collection | Manufacturer training specialist/Implementing Partner |
|  | 10:30 – 10:45 | Tea Break |  |
|  | 10:45 – 11:45 | SC03 QA Approach and Mentorship | MoH/Implementing Partner |
|  | 11:45 – 12:30 | SC02 Data Management | MoH/Implementing Partner |
|  | 12:30 – 13:30 | Lunch |  |
|  | 13:30 – 14:30 | Review, Q&A and/or Handiwork Practice | MoH/Implementing Partner |
|  | 14:30-15:00 | Written Assessment | Training specialist/Implementing Partner |
|  | 15:00 – 17:00 | Practical Assessment | Training specialist/Implementing Partner |
|  | 17:00- 17:30 | Planning for follow-up site visits, certification and wrap up | MoH/Implementing Partner |

*M04 is not included in the POC EID training package. This content should be provided by the device manufacturer and presented either by a representative from the manufacturer or a training specialist from an implementing partner.

Note: Trained Operators should receive on-site follow up visits as part of the certification process soon after the training to further assess their confidence in processing samples, operating the device and maintaining data management systems. Targeted mentorship can be conducted as necessary, or as part of routine national mentorship visits.