## Cover Page
Point-of-Care (POC)
Quality Assurance (QA)
Costing
Tool
Date Created: May 2015
Date Updated: August 2017
Version Control: v4

## Introduction
Introduction:
Both quality assurance (QA) and quality control (QC) are meant to ensure the accuracy and precision of the results produced by diagnostic testing. Internal controls and standards are meant to eliminate differences in random and systematic errors between each patient sample, and between patient samples and known standards. External quality assurance (EQA) schemes assess the performance of a laboratory or health care facility to accurately test stabilized samples of known value or result. Traditional EQA schemes typically consist of a third party provider shipping panels of stabilized blood samples (or artificial blood samples) to a set of laboratories, so that each laboratory can test the samples and compare the results to a known value and to results from other participating labs. The introduction and implementation of POC technologies for CD4, VL, and EID and the ability to decentralize testing that POC technologies allows has required the expantoin of traditional EQA schemes to reach an unprescidented number of facilties. Additionally, the decentralization to entry points outside of the laboratory presents new challenges.This model can be used to assist in costing an expanded EQA scheme, along with several complementary approaches to quality assurance: nationally or regionally produced EQA PT panels, duplicate sample testing, data management through connectivity, site mentorship, paper-based EQA, and e-Modules. In addition to exploring different EQA models, the costing model allows the user to vary the timing/frequency of quality assurance activities and the number of samples per panel in the case of EQA PT. Both of these parameters have important quality and cost implications. Programs should seek to provide a robust QA program, with consideration for available resources. This tool was developed in response to a request from the Malawi ministry of health (MOH) and was implemented in 2015 for the scale-up of decentralized POC testing using the Alere Pima.
Instructions:
This document is designed to model the cost of a comprehensive program composed of a combination of eight approaches to providing QA for diagnostic equipment. The eight tabs can be populated with country-specific information about the frequency of quality assurance activities and the cost of conducting those activities. They are currently populated with 'example data', but must be updated with information from your specific context. Some cells, noted in light yellow, must be populated by the user of the document, while others are calculated. Whenever possible, verifiable quotations and actual figures should be used. When actual figures are not available estimates may be used to populate the model, however over-reliance on estimates or incorrect estimates may result in incorrect outputs. The 'Summary' tab contains a 'Parameter Sensitivity' analysis section, which provides users the opportunity to quickly change five key inputs across all tabs to easily visualize the responsiveness of the cost for each quality assurance approach to these variables. Parameters that are part of the sensitivity analysis can be altered either on the 'Summary' tab or any one of the eight approach-specific tabs. The value from the sensitivity analysis on the 'Summary' tab will appear in a 'Sensitivity Analysis Cell' with a corresponding 'Input Cell'. If the 'Input Cell' is set to 0 then the value from the 'Sensitivity Analysis Cell' will be used. If the 'Input Cell' is set to a number greater than 0 the value from the 'Input Cell' will be used. To avoid confusion cells on the tabs for each of the eight approaches are coded as follows:
Input Cell ( country data or estimate)
Calculation and/or output Cell
Sensitivity Analysis Cell

## Summary
Annual QA Costing Models
|  | QA Models | Cost per Year | Selected Strategies | Yes
| 0 | Model 0: IQA - Controls | #N/A
| 1 | Model 1: Mentorship | #N/A |  | No
| 2 | Model 2: EQA PT - International | #N/A
| 3 | Model 3: EQA PT - National | #N/A
| 4 | Model 4: Duplicate Testing (Inter-lab Testing) | #N/A
| 5 | Model 5: Connectivity | #DIV/0!
| 6 | Model 6: Paper-based EQA | #N/A
| 7 | Model 7: e-modules | #N/A
|  | Total |  | #N/A
|  | Parameter Sensitivity | Number
Number of Devices
Number of Facilities
Number of QA Activities Per Year
Number of Device Users
Number of Mentors
Select a one EQA PT Model

## 0. IQA - Controls
Model 0: IQA - Controls
Quality Assurance Cost Per Year
| Cost Categories | Cost | % of Total Cost
1 | IQA - Controls | 0 | #N/A
2 | Distribution Per Unit of Control Reagents or Bead | 0 | #N/A
3 | Facility /Laboratory Personnel | #N/A | #N/A
| Total | #N/A | #N/A
Description
Internal controls and standards are meant to eliminate differences in random and systematic errors between each patient sample, and between patient samples and known standards. Standards can be any number of test types, for example for viral load testing a quantitative standard curve allows for accurate measuring of the patient sample or a standard could be considered positive and negative controls, which the patient sample is compared to.
Model 0: IQA - Controls
Parameters
| Number of Devices |  | 0 |  | Source: Country Data
| Number of Days Device Is Operated Per Year |  |  |  | Source: Country Data
^ option to manually adjust frequency here
IQA - Controls
| Cost per unit of control (pack, bead) | Per unit |  |  | Source: Country Data
| Wastage (% of products lost, damaged, expiring, or rejected) | Percentage |  |  | Source: Country Data
| Handling, CSD, inspection, insurance, freight | Percentage |  |  | Source: Country Data
| Number of IQA packs needed per year | Per year |  |  | Source: Country Data
| Total for IQA - Controls |  | 0 | 0
Distribution Per Unit of Control Reagents or Bead
| Facility-level delivery | Percentage |  |  | Source: Country Data
| Total for Distribution Per Unit of Control Reagents or Bead |  | 0 | 0
Facility /Laboratory Personnel
| Indirect (management, overheads, etc.) costs as a percentage of labor costs | Percentage
| Health Worker Cost Information | Annual Salary | Working Hours Per Day | Days Per Year | Salary Minute
| QA Officer |  |  |  | #DIV/0! | Source: Country Data
| Nurse |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Manager |  |  |  | #DIV/0! | Source: Country Data
| Health Worker |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Technician |  |  |  | #DIV/0! | Source: Country Data
| Health Worker Dedicated Time | Cadre | Time Per Task (min) | Quantity | Salary Cost Per Task
| Cost for Device Operator Running Controls |  |  | 0 | #N/A | Source: Country Data
| Total Direct Personnel |  |  |  | #N/A
| Total Indirect Personnel |  |  |  | #N/A
| Total for Facility /Laboratory Personnel |  |  |  | #N/A
Comments
Controls are frequently included in procurement forecasts and ordered with reagents The cost, frequency with controls should be run, and the usable life of controls may vary greatly by device There is no budget for corrective action from the central level. See ' 5. Connectivity' for this cost, which can be incurred only when IQA results are regularly reported

## 1. Mentorship
Model 1: Mentorship
Quality Assurance Cost Per Year
| Cost Categories | Cost | % of Total Cost
1 | Mentorship Orientation Meetings | 0 | #N/A
2 | Mentorship Visits to Facilities | 0 | #N/A
3 | Facility/Laboratory Personnel | #N/A | #N/A
| Total | #N/A | #N/A
Description
As a follow-up to initial POC site training, master trainers and/or national, regional or facility mentors should conduct periodic competency assessments and regular follow-up mentorship visits with each health care facility and operator conducting POC testing. This ensures that sample collection and testing procedures are conducted appropriately, records are maintained, the technology passes IQC, and that end-user skills have not deteriorated over time. Site mentorship can control, or at least in part control, for all aspects of diagnostic testing; however, mentorship and the test aspects observed are only done so on the visitation days.
Model 1: Mentorship
Parameters
| Number of Mentors |  |  | 0 |  | Source: Country data
| Number of Mentor Trainings |  |  |  |  | Source: Country data
| Number of Facilities |  |  | 0 |  | Source: Country data
| Number of Mentorship Rounds Conducted Per Year |  | frequency from summary tab -> | 0 |  | Source: Country data
^ option to manually adjust frequency here
| Mentorship Orientation Meetings |  |  | unit cost
| Accommodation and meals for mentors during orientation meetings |  | Per mentor per day |  | 0 | Source: Country Data
| Snacks for mentors during orientation meetings |  | Per mentor per day |  | 0 | Source: Country Data
| Transport for mentors to and from orientation meetings |  | Per mentor per day |  | 0 | Source: Country Data
| Materials (training tools, mentorship forms, pens, paper) |  | Per mentor per day |  | 0 | Source: Country Data
| Venue hire (meeting room, projector, etc.) |  | Per training per day |  | 0 | Source: Country Data
| Miscellaneous (additional costs arising from conducting training) |  | Per mentor per day |  | 0 | Source: Country Data
| Total for Mentorship Orientation Meetings |  |  |  | 0
| Mentorship Visits to Facilities |  |  | unit cost
| Accommodation and meals for mentors while performing mentorship visits |  | Per facility mentored |  | 0 | Source: Country Data
| Snacks for mentees during facility visits |  | 3x per facility mentored |  | 0 | Source: Country Data
| Transport for mentors to facilities |  | Per mentor per facility mentored |  | 0 | Source: Country Data
| Materials (training tools, mentorship forms, pens, paper) |  | Per facility mentored |  | 0 | Source: Country Data
| Total for Mentorship Visits to Facilities |  |  |  | 0
Facility/Laboratory Personnel
| Indirect (management, overheads, etc.) costs as a percentage of labor costs |  | Percentage
| Health Worker Cost Information | Annual Salary | Working Hours Per Day | Days Per Year | Salary Minute
| QA Officer |  |  |  | #DIV/0! | Source: Country Data
| Nurse |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Manager |  |  |  | #DIV/0! | Source: Country Data
| Health Worker |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Technician |  |  |  | #DIV/0! | Source: Country Data
| Health Worker Dedicated Time | Cadre | Time per task (min) | Quantity | Salary Cost Per Task
| Cost for Mentors to Attend Orientation Meeting |  |  | 0 | #N/A | Source: Country Data
| Cost of Mentors to Conduct Mentorship Visits |  |  | 0 | #N/A | Source: Country Data
| Cost of Mentee Time Dedicated to Mentorship Visits |  |  | 0 | #N/A | Source: Country Data
| Total Direct Personnel |  |  |  | #N/A
| Total Indirect Personnel |  |  |  | #N/A
| Total for Facility/Laboratory Personnel |  |  |  | #N/A
Comments
Assuming that initial trainings have already been provided to the mentors, so all that is required is a refresher training
Refresher training for mentors ("mentorship orientation meetings") are conducted in each health zone before each round of mentorship.
2 end-users per facility and the in-charge will participate in the mentorship activities

## 2. EQA PT - intl.
Model 2: EQA PT - International
| QA cost per year | Cost | % of Total Cost
1 | Test Panels | 0 | #N/A
2 | Distribution and Collection of Results Per Panel | 0 | #N/A
3 | Corrective Actions and Follow-up | 0 | #N/A
4 | Facility/Laboratory Personnel | #N/A | #N/A
| Total | #N/A | #N/A
Description
International External Quality Assurance (EQA) Proficiency Testing (PT) schemes consist of a 3rd party provider shipping panels of stabilized blood samples (or artificial blood samples) to a set of laboratories, so that each laboratory can test the samples and compare the results to a known value. This also allows laboratories to compare their performance to global averages, and to their peer laboratories throughout the country or in other countries. These schemes control, or at least in part control, for several of the aspects of testing described above, including patient identification, sample application, reagent application, overall technical procedure, and result reading.
Model 2: EQA PT - International
Parameters
| Number of Facilities |  |  | 0 |  | Source: Country Data
| Percent of Facilities Failing to Report Results |  |  |  |  | Source: Country Data
| Percent of Facilities Reporting Results Outside Range |  |  |  |  | Source: Country Data
| Percent of Facilities Requiring an In-Person Follow-up Visit |  |  |  |  | Source: Country Data
| Number of Samples Per Panel |  |  |  |  | Source: Country Data
| Number of Panels Per Year |  | frequency from summary tab -> | 0 |  | Source: Country Data
^ option to manually adjust frequency here
Test Panels
| Cost of creating EQA PT samples (equipment, consumables, specimens, stabilizers, etc.) |  | QASI EQA PT Panels |  |  | Source: Country Data
| Handling, CSD, inspection, insurance, freight for EQA PT samples |  | 25% |  |  | Source: Country Data
| Total for Test Panels |  |  | 0 | 0
Distribution and Collection of Results Per Panel
| Packaging of EQA panels for distribution |  | Per sample |  |  | Source: Country Data
| Distribution of EQA panels from a central level to health facilities |  | Per sample |  |  | Source: Country Data
| Return of results from facilities to international reporting body |  | Per sample |  |  | Source: Country Data
| Total for Distribution and Collection of Results Per Panel |  |  | 0 | 0
Corrective Actions and Follow-up
| Calls to facilities failing to report results |  | Per facility |  | 0 | Source: Country Data
| Calls to facilities reporting results outside ranges |  | Per facility |  | 0 | Source: Country Data
| Visits to facilities requiring an in-person follow-up |  | Per facility |  | 0 | Source: Country Data
| Total for Corrective Actions and Follow-up |  |  | 0 | 0
Facility/Laboratory Personnel
| Indirect (management, overheads, etc.) costs as a percentage of labor costs |  | Percentage
| Health Worker Cost Information | Annual Salary | Working Hours Per Day | Days Per Year | Salary Minute
| QA Officer |  |  |  | #DIV/0! | Source: Country Data | 0
| Nurse |  |  |  | #DIV/0! | Source: Country Data | 0
| Laboratory Manager |  |  |  | #DIV/0! | Source: Country Data | 0
| Health Worker |  |  |  | #DIV/0! | Source: Country Data | 0
| Laboratory Technician |  |  |  | #DIV/0! | Source: Country Data | 0
| Health Worker Dedicated Time | Cadre | Time Per Task (min) | Quantity | Salary Cost Per Task
| Cost of Coordinating Distribution of Samples |  |  | 0 | #N/A | Source: Country Data
| Cost of Preparing EQA Panel |  |  | 0 | #N/A | Source: Country Data
| Cost of Analyze EQA Panels |  |  | 0 | #N/A | Source: Country Data
| Cost of Collecting Results of EQA Panels |  |  | 0 | #N/A | Source: Country Data
| Cost of Calling 'Failing' Facilities |  |  | 0 | #N/A | Source: Country Data
| Cost of Visiting 'Failing' Facilities |  |  | 0 | #N/A | Source: Country Data
| Total Direct Personnel |  |  |  | #N/A
| Total Indirect Personnel |  |  |  | #N/A
| Total for Facility/Laboratory Personnel |  |  |  | #N/A
Comments

## 3. EQA PT - natl.
Model 3: EQA PT - National
Quality Assurance Cost Per Year
| Cost Categories | Cost | % of Total Cost
1 | Test Panels | 0 | #N/A
2 | Distribution and Collection of Results Per Panel | 0 | #N/A
3 | Corrective Actions and Follow-up | 0 | #N/A
4 | Facility/Laboratory Personnel | #N/A | #N/A
| Total | #N/A | #N/A
Description
National External Quality Assurance (EQA) Proficiency Testing (PT) schemes consist of National Reference Laboratory (NRL) creating stabilized blood samples (or artificial blood samples) and shipping to a set of national or regional laboratories, so that each laboratory can test the samples and compare the results to a known value. This also allows laboratories to compare their performance to global averages, and to their peer laboratories throughout the country or in other countries. These schemes control, or at least in part control, for several of the aspects of testing described above, including patient identification, sample application, reagent application, overall technical procedure, and result reading.
Model 3: EQA PT - National
Parameters
| Number of Facilities |  |  | 0 |  | Source: Country Data
| Percent of Facilities Failing to Report Results |  |  |  |  | Source: Country Data
| Percent of Facilities Reporting Results Outside Range |  |  |  |  | Source: Country Data
| Percent of Facilities Requiring an In-Person Follow-up Visit |  |  |  |  | Source: Country Data
| Number of Samples Per Panel |  |  |  |  | Source: Country Data
| Number of Panels Per Year |  | frequency from summary tab -> | 0 |  | Source: Country Data
^ option to manually adjust frequency here
Test Panels
| Cost of creating EQA PT samples (equipment, consumables, specimens, stabilizers, etc.) |  |  |  |  | Source: Country Data
| Handling, CSD, inspection, insurance, freight |  |  |  |  | Source: Country Data
| Total for Test Panels |  |  | 0 | 0
Distribution and Collection of Results Per Panel
| Packaging of EQA panels for distribution |  | Per sample |  |  | Source: Country Data
| Distribution of EQA panels from a central level to health facilities |  | Per sample |  |  | Source: Country Data
| Return of results from facilities to national reporting body |  | Per sample |  |  | Source: Country Data
| Total for Distribution and Collection of Results Per Panel |  |  | 0 | 0
Corrective Actions and Follow-up
| Calls to facilities failing to report results |  | Per facility |  | 0 | Source: Country Data
| Calls to facilities reporting results outside ranges |  | Per facility |  | 0 | Source: Country Data
| Visits to facilities requiring an in-person follow-up |  | Per facility |  | 0 | Source: Country Data
| Total for Corrective Actions and Follow-up |  |  | 0 | 0
Facility/Laboratory Personnel
| Indirect (management, overheads, etc.) costs as a percentage of labor costs |  | Percentage
| Health Worker Cost Information | Annual Salary | Working Hours Per Day | Days Per Year | Salary Minute
| QA Officer |  |  |  | #DIV/0! | Source: Country Data
| Nurse |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Manager |  |  |  | #DIV/0! | Source: Country Data
| Health Worker |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Technician |  |  |  | #DIV/0! | Source: Country Data
| Health Worker Dedicated Time | Cadre | Time Per Task (min) | Quantity | Salary Cost Per Task
| Cost of Coordinating Distribution of Samples |  |  | 0 | #N/A | Source: Country Data
| Cost of Preparing EQA Panel |  |  | 0 | #N/A | Source: Country Data
| Cost of Analyze EQA Panels |  |  | 0 | #N/A | Source: Country Data
| Cost of Collecting Results of EQA Panels |  |  | 0 | #N/A | Source: Country Data
| Cost of Calling 'Failing' Facilities |  |  | 0 | #N/A | Source: Country Data
| Cost of Visiting 'Failing' Facilities |  |  | 0 | #N/A | Source: Country Data
| Total Direct Personnel |  |  |  | #N/A
| Total Indirect Personnel |  |  |  | #N/A
| Total for Facility/Laboratory Personnel |  |  |  | #N/A
Comments

## 4. Duplicate Testing
Model 4: Duplicate Testing (Inter-lab Testing)
Quality Assurance Cost Per Year
| Cost Categories | Cost | % of Total Cost
1 | Duplicate Testing Reagents | 0 | #N/A
2 | Venipuncture Supplies | 0 | #N/A
3 | Sample Transportation | 0 | #N/A
4 | Corrective Actions and Follow-up | 0 | #N/A
5 | Facility /Laboratory Personnel | #N/A | #N/A
| Total | #N/A | #N/A
Description
In Duplicate testing QA model combination, a subset of samples, at least 20 and up to 5-10% of monthly volumes, are initially tested on the POC technology as prescribed by a clinician, while a venous blood sample from the subset of patients is sent to the nearest regional laboratory for testing on the reference conventional technology. Duplicate sample testing can be set up on a regular basis, for example quarterly or semi-annually alternatively with EQA PT Panels. Duplicate sample testing controls, or at least in part controls, for overall technical procedure and result reading, but it may not control for sample collection, sample handling, sample application, and other pre-test aspects when the POC technology requires or uses capillary blood rather than venous blood that is sent to the regional laboratory.
Model 4: Duplicate Testing (Inter-lab Testing)
Parameters
| Number of Facilities |  |  | 0 |  | Source: Country Data
| Number of Samples Tested Per Facility |  |  |  |  | Source: Country Data
| Number of Times Duplicate Testing Conducted Per Year |  | frequency from summary tab -> | 0 |  | Source: Country Data
| Percent of Facilities Reporting Results Outside Range |  |  |  |  | Source: Country Data
| Percent of Facilities Requiring an In-Person Follow-up Visit |  |  |  |  | Source: Country Data
^ option to manually adjust frequency here
Duplicate Testing Reagents
| Total cost of all conventional reagents used to analyze duplicate samples |  | Per test |  |  | Source: Country Data
| Wastage (% of products lost, damaged, expiring, or rejected) |  | Percentage |  |  | Source: Country Data
| Handling, CSD, inspection, insurance, freight |  | Percentage |  |  | Source: Country Data
| Total for Duplicate Testing Reagents |  |  | 0 | 0
Venipuncture Supplies
| Total cost for all supplies required to collect one blood sample |  | Per specimen |  |  | Source: Country Data
| Wastage (% of products lost, damaged, expiring, or rejected) |  | Percentage |  |  | Source: Country Data
| Handling, CSD, inspection, insurance, freight |  | Percentage |  |  | Source: Country Data
| Total for Venipuncture Supplies |  |  | 0 | 0
Sample Transportation
| Cost per sample transported to conventional testing hub |  | Per sample |  |  | Source: Country Data
| Total for Sample Transportation |  |  | 0 | 0
Corrective Actions and Follow-up
| Calls to facilities reporting results outside ranges |  | Per facility |  | 0 | Source: Country Data
| Visits to facilities requiring an in-person follow-up |  | Per facility |  | 0 | Source: Country Data
| Total for Corrective Actions and Follow-up |  |  | 0 | 0
Facility /Laboratory Personnel
Indirect (management, overheads, etc.) costs as a percentage of labor costs
| Health Worker Cost Information | Annual Salary | Working Hours Per Day | Days Per Year | Salary Minute
| QA Officer |  |  |  | #DIV/0! | Source: Country Data
| Nurse |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Manager |  |  |  | #DIV/0! | Source: Country Data
| Health Worker |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Technician |  |  |  | #DIV/0! | Source: Country Data
| Health Worker Dedicated Time | Cadre | Time per task (min) | Quantity | Salary Cost Per Task
| Cost of overseeing duplicate testing validation |  |  | 0 | #N/A | Source: Country Data
| Cost of lab staff running the duplicate samples at lab |  |  | 0 | #N/A | Source: Country Data
| Cost of the blood draw for duplicate testing |  |  | 0 | #N/A | Source: Country Data
| Total Direct Personnel |  |  |  | #N/A
| Total Indirect Personnel |  |  |  | #N/A
| Total for Facility /Laboratory Personnel |  |  |  | #N/A
Comments

## 5. Connectivity
Model 5: Connectivity
Quality Assurance Cost Per Year
| Cost Categories | Cost | % of Total Cost
1 | Hardware | #DIV/0! | #DIV/0!
2 | Data Transmission | 0 | #DIV/0!
3 | Web Hosting | 0 | #DIV/0!
4 | Corrective Actions and Follow-up | 0 | #DIV/0!
5 | Facility /Laboratory Personnel | #N/A | #N/A
| Total | #DIV/0! | #DIV/0!
Description
Data Management through connectivity allows data to be transmitted from POC devices in the field to a central point, where the data can be monitored centrally. Data from each health care facility should be tracked daily or weekly. At a minimum, POC developers should include the following data to be regularly exported: whether the device was turned on each day, the daily IQC results, the number of tests conducted daily, each test result, and the number and types of errors encountered. When regularly monitored, this data will greatly assist in identifying problems quickly for corrective action. This method can control, or at least in part control, for sample application, reagent application, overall technical procedure, and result reading, but it may not control for sample collection, sample handling, sample transportation and other pre-test aspects.
Model 5: Connectivity
Parameters
| Number of Devices |  |  | 0 |  | Source: Country Data
| Number of Data Transmissions Per Year |  |  |  |  | Source: Country Data
| Percent of Facilities Reporting Results Outside Range |  |  |  |  | Source: Country Data
| Percent of Facilities Requiring an In-Person Follow-up Visit |  |  |  |  | Source: Country Data
^ option to manually adjust frequency here
Hardware
| Modem cost (called connectivity pack for some devices) |  | Per modem |  |  | Source: Country Data
| Average lifetime of a modem (average time before replacement) |  | Years |  |  | Source: Country Data
| Cost per SIM card (preferably pre-paid) |  | Per SIM card |  |  | Source: Country Data
| Total for Hardware |  |  | #DIV/0! | #DIV/0!
Data Transmission
| SMS data transmission (cost per result transmitted) |  | Per sample |  |  | Source: Country Data
| Total for Data Transmission |  |  | 0 | 0
Web Hosting
| Cost of maintaining a primary and secondary internet connection of adequate speed |  | Per month |  |  | Source: Country Data
| Cost of web hosting for the data portal |  | Per month |  |  | Source: Country Data
| Total for Web Hosting |  |  | 0 | 0
Corrective Actions and Follow-up
| Calls to facilities reporting results outside ranges |  | Per facility |  | 0 | Source: Country Data
| Visits to facilities requiring an in-person follow-up |  | Per facility |  | 0 | Source: Country Data
| Total for Corrective Actions and Follow-up |  |  | 0 | 0
Facility /Laboratory Personnel
Indirect (management, overheads, etc.) costs as a percentage of labor costs
| Health Worker Cost Information | Annual Salary | Working Hours Per Day | Days Per Year | Salary Minute
| QA Officer |  |  |  | #DIV/0! | Source: Country Data
| Nurse |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Manager |  |  |  | #DIV/0! | Source: Country Data
| Health Worker |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Technician |  |  |  | #DIV/0! | Source: Country Data
| Health Worker Dedicated Time | Cadre | Time per task (min) | Quantity | Salary Cost Per Task
| Cost of health worker transmitting results - daily |  |  | 0 | #N/A | Source: Country Data
| Cost for supervisors reviewing reports - weekly |  |  | 0 | #N/A | Source: Country Data
| Total Direct Personnel |  |  |  | #N/A
| Total Indirect Personnel |  |  |  | #N/A
| Total for Facility /Laboratory Personnel |  |  |  | #N/A
Comments
Assumes POC Connectivity is running smoothly and no technical site visits or server maintenance is required; Assumes that all required IT services are integrated with existing MOH infrastructure;

## 6. Paper-based
Model 6: Paper-based EQA
Quality Assurance Cost Per Year
| Cost Categories | Cost | % of Total Cost
1 | Total for Printing Tests | 0 | #N/A
2 | Total for Distributing and Collecting Tests | 0 | #N/A
3 | Facility /Laboratory Personnel | #N/A | #N/A
| Total | #N/A | #N/A
Description
For some POC technologies, the interpretation of test results is not entirely straightforward. For example, for POC technologies that do not provide a quantitative CD4 count, but rather control and test lines to indicate whether a patient is above or below a clinical threshold, the result may be difficult to interpret. In this case, distributing paper-based EQA may be beneficial. The paper-based EQA materials could include pictures of results for interpretation as well as procedural questions for conducting the diagnostic test of interest. While this mechanism will not specifically measure the accuracy of the testing procedure, it will determine the accuracy of result interpretation and end users testing knowledge.
Model 6: Paper-based EQA
Parameters
| Number of POC Users |  |  | 0 |  | Source: Country Data
| Facilities |  |  | 0 |  | Source: Country Data
| Percent of Facilities Failing to Report Results |  |  |  |  | Source: Country Data
| Percent of Facilities Reporting Results Outside Range |  |  |  |  | Source: Country Data
| Percent of Facilities Requiring an In-Person Follow-up Visit |  |  |  |  | Source: Country Data
| Number of Paper-based Tests per Year |  | frequency from summary tab -> | 0 |  | Source: Country Data
^ option to manually adjust frequency here
Printing Tests
| Printing |  | Per test |  |  | Source: Country Data
| Total for Printing Tests |  |  | 0 | 0
Distributing and Collecting Tests
| Sending tests to POC users |  | Per test |  |  | Source: Country Data
| Receiving tests from POC users |  | Per test |  |  | Source: Country Data
| Total for Distributing and Collecting Tests |  |  | 0 | 0
Corrective Actions and Follow-up
| Calls to facilities failing to report results |  | Per facility |  | 0 | Source: Country Data
| Calls to facilities reporting results outside ranges |  | Per facility |  | 0 | Source: Country Data
| Visits to facilities requiring an in-person follow-up |  | Per facility |  | 0 | Source: Country Data
| Total for Corrective Actions and Follow-up |  |  | 0 | 0
Facility /Laboratory Personnel
Indirect (management, overheads, etc.) costs as a percentage of labor costs
| Health Worker Cost Information | Annual Salary | Working Hours Per Day | Days Per Year | Salary Minute
| QA Officer |  |  |  | #DIV/0! | Source: Country Data
| Nurse |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Manager |  |  |  | #DIV/0! | Source: Country Data
| Health Worker |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Technician |  |  |  | #DIV/0! | Source: Country Data
| Health Worker Dedicated Time | Cadre | Time per task (min) | Quantity | Salary Cost Per Task
| Cost for supervisor reviewing the paper exam |  |  | 0 | #N/A | Source: Country Data
| Cost of health worker answering test questions on the exam |  |  | 0 | #N/A | Source: Country Data
| Total Direct Personnel |  |  |  | #N/A
| Total Indirect Personnel |  |  |  | #N/A
| Total for Facility /Laboratory Personnel |  |  |  | #N/A
Comments
Distribution and collection costs are based on the best available transportation method.

## 7. e-modules
Model 7: e-modules
Quality Assurance Cost Per Year
| Cost Categories | Cost | % of Total Cost
1 | Total for Development of e-module | 0 | #N/A
2 | Total for Licensing Fees | 0 | #N/A
3 | Facility /Laboratory Personnel | #N/A | #N/A
| Total | #N/A | #N/A
Description
eModules are online or computer-based tests or exercises similar to the paper-based EQA scheme on the previous tab. eModules can determine the accuracy of result interpretation, while also including test procedural questions to assess the testing knowledge of end users. If health care facilities have computers and internet connections, it can be done as often as desired and used in combination with EQA panels, duplicate sample testing, or inter-laboratory sample testing.
Model 7: e-modules
Parameters
| POC Users |  |  | 0 |  | Source: Country Data
| Facilities |  |  | 0 |  | Source: Country Data
| Percent of Facilities Failing to Report Results |  |  |  |  | Source: Country Data
| Percent of Facilities Reporting Results Outside Range |  |  |  |  | Source: Country Data
| Percent of Facilities Requiring an In-Person Follow-up Visit |  |  |  |  | Source: Country Data
| Number of e-module Tests per Year |  | frequency from summary tab -> | 0 |  | Source: Country Data
^ option to manually adjust frequency here
Development of e-module
| Consulting fee for an application developer to create or customize the e-module |  | Module |  |  | Source: Country Data
| Stakeholder engagement meeting to develop and adopt e-module |  | Module |  |  | Source: Country Data
| Total for Development of e-module |  |  | 0 | 0
Licensing Fees
| Software usage fee |  | Per user |  |  | Source: Country Data
| Total for Licensing Fees |  |  | 0 | 0
Corrective Actions and Follow-up
| Calls to facilities failing to report results |  | Per facility |  | 0 | Source: Country Data
| Calls to facilities reporting results outside ranges |  | Per facility |  | 0 | Source: Country Data
| Visits to facilities requiring an in-person follow-up |  | Per facility |  | 0 | Source: Country Data
| Total for Corrective Actions and Follow-up |  |  | 0 | 0
Facility /Laboratory Personnel
Indirect (management, overheads, etc.) costs as a percentage of labor costs
| Health Worker Cost Information | Annual Salary | Working Hours Per Day | Days Per Year | Salary Minute
| QA Officer |  |  |  | #DIV/0! | Source: Country Data
| Nurse |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Manager |  |  |  | #DIV/0! | Source: Country Data
| Health Worker |  |  |  | #DIV/0! | Source: Country Data
| Laboratory Technician |  |  |  | #DIV/0! | Source: Country Data
| Health Worker Dedicated Time | Cadre | Time per task (min) | Quantity | Salary Cost Per Task
| Cost for supervisor reviewing the e-module results |  |  | 0 | #N/A | Source: Country Data
| Cost of health worker answering test questions on the exam |  |  | 0 | #N/A | Source: Country Data
| Total Direct Personnel |  |  |  | #N/A
| Total Indirect Personnel |  |  |  | #N/A
| Total for Facility /Laboratory Personnel |  |  |  | #N/A
Comments
Assumes access to a functioning computer and internet